MANHOLE GENERAL CONDITION EVALUATION FORM

Asset Location: ___________________________________________________________

Address: ________________________________________________________________

Asset Name (description): __________________________________________________

Asset ID: _________________________

Is this asset funded by ISC?   □  YES   □ NO   If yes, what is the CAIS ID ____________

ACRS-ID (Asset Code-No-Ext e.g., A1A-008000-01):_______________________________

Present Use: 		Storm		Sanitary	Other: ________

Grade to Manhole: 	Flush		Below: _____	Above: ________

ASSET INFORMATION/DESCRIPTION:

| Year of Construction: |  |
| --- | --- |
| Material: |  |
| Diameter (mm): |  |
| Cover diameter (mm): |  |
| Cover elevation (m): |  |
| Cover shape: |  |
| Width of Access (mm): |  |
| Manhole Shape (shaft/taper): |  |
| Riser Rings (no.): |  |
| Ladder Rung Spacing (mm): |  |
| Drop Manhole (Y/N): |  |

MANHOLE LAYOUT:

| Direction (i.e NW) | Diameter (mm) | Depth of Flow (mm) | Invert Elevation (m) | N Inlets and Outlets |
| --- | --- | --- | --- | --- |

| Date Inspected (dd/mm/yyyy): |  |
| --- | --- |
| Weather/Temperature: |  |
| Inspected By (please print name): |  |

VISUAL CONDITION EVALUATION

| 10 | Very Good Condition |  | Only normal maintenance required |  |  |
| --- | --- | --- | --- | --- | --- |
| 7-9 | Minor Defects Only |  | Minor maintenance required (5%) |  |  |
| 4-6 | Maintenance Required to Return to Acceptable Level of Service |  | Significant maintenance required (10-20%) |  |  |
| 1-3 | Requires Renewal |  | Significant renewal/upgrade required (20-40%) |  |  |
| 0 | Asset Unserviceable |  | Over 50% of asset requires replacement |  |  |
| Component |  | Condition Grading |  | Nature of Problem if rating other than 10-Very Good | Clock Position of Defect |  |
| Exterior Condition |  |  |  |  |  |  |
| Cover |  |  |  |  |  |  |
| Deterioration |  |  |  |  |  |  |
| Infiltration |  |  |  |  |  |  |
| Iron/Staining |  |  |  |  |  |  |
| Surface Ponding |  |  |  |  |  |  |
| Frame |  |  |  |  |  |  |
| Deterioration |  |  |  |  |  |  |
| Infiltration |  |  |  |  |  |  |
| Iron/Staining |  |  |  |  |  |  |
| Interior Condition |  |  |  |  |  |  |
| Walls |  |  |  |  |  |  |
| Deterioration |  |  |  |  |  |  |
| Infiltration |  |  |  |  |  |  |
| Iron/Staining |  |  |  |  |  |  |
| Surcharge Evidence |  |  |  |  |  |  |
| Rings |  |  |  |  |  |  |
| Deterioration |  |  |  |  |  |  |
| Infiltration |  |  |  |  |  |  |
| Iron/Staining |  |  |  |  |  |  |
| Channel |  |  |  |  |  |  |
| Benching |  |  |  |  |  |  |
| Deposits |  |  |  |  |  |  |
| Obstructions |  |  |  |  |  |  |
| Safety |  |  |  |  |  |  |
| Steps |  |  |  |  |  |  |
| Ladder Rungs |  |  |  |  |  |  |
| Toe holes |  |  |  |  |  |  |
| OVERALL CONDITION GRADE |  |  |  |  |  |  |

Deterioration: aggregate visible, reinforcement visible, cracks, mortar missing, roots (fine, tap, mass)

Infiltration: seeping, dripping, running, gushing

Deposits: grease, encrustation, fouling, settled deposits (i.e. fine, coarse, gravel, soil)

PRIOR MAINTENANCE ISSUES IDENTIFIED:

Have there been any complaints? What were they regarding?

MAINTENANCE ISSUES IDENTIFIED BY ASSESSMENT:

ADDITIONAL NOTES:

| PHOTOGRAPHS |  |
| --- | --- |
| Photo 1: | Photo 2: |
| Photo 3: | Photo 4: |