VALVE GENERAL CONDITION EVALUATION FORM

Asset Location: __________________________________________________________

Address: ________________________________________________________________

Asset Name (description): __________________________________________________

Asset ID: _________________________

Is this asset funded by ISC?   □  YES   □ NO   If yes, what is the CAIS ID ____________

ACRS-ID (Asset Code-No-Ext e.g., A1A-008000-01):_______________________________

Present Use: 		Water 		Storm		Sanitary	Other: ________

Grade to Cover: 	Flush		Below: _____	Above: ________

ASSET INFORMATION/DESCRIPTION:

| Year of Construction: |  |
| --- | --- |
| Material/Make/Model No.: |  |
| Diameter (mm): |  |
| Cover diameter (mm): |  |
| Cover elevation (m): |  |
| Distance from centreline to top of nut (mm): |  |
| Date Last Exercised: |  |
| No. of turns (fully open to fully closed): |  |
| Date Last Tested: |  |
| Results of Test: |  |

PRIOR MAINTENANCE ISSUES IDENTIFIED:

Have there been any complaints? What were they regarding?

| Date Inspected (dd/mm/yyyy): |  |
| --- | --- |
| Weather/Temperature: |  |
| Inspected By (please print name): |  |

VISUAL CONDITION EVALUATION

| 10 | Very Good Condition | Only normal maintenance required |
| --- | --- | --- |
| 7-9 | Minor Defects Only | Minor maintenance required (5%) |
| 4-6 | Maintenance Required to Return to Acceptable Level of Service | Significant maintenance required (10-20%) |
| 1-3 | Requires Renewal | Significant renewal/upgrade required (20-40%) |
| 0 | Asset Unserviceable | Over 50% of asset requires replacement |

| Component | Condition Grading | Nature of Problem if rating other than 10-Very Good |
| --- | --- | --- |
| Exterior Valve Box Condition |  |  |
| Cover |  |  |
| Deterioration |  |  |
| Infiltration |  |  |
| Iron/Staining |  |  |
| Surface Ponding |  |  |
| Frame |  |  |
| Deterioration |  |  |
| Infiltration |  |  |
| Iron/Staining |  |  |
| Interior Valve Box Condition |  |  |
| Walls |  |  |
| Deterioration |  |  |
| Infiltration |  |  |
| Iron/Staining |  |  |
| Deposits |  |  |
| Stem |  |  |
| Deterioration |  |  |
| Infiltration |  |  |
| Iron/Staining |  |  |
| Valve Condition |  |  |
| Sealing/Seating |  |  |
| Bearing/Pivot Lubrication |  |  |
| Vibration/Binding/Chattering |  |  |
| OVERALL CONDITION GRADE |  |  |

Deterioration: cracks, roots (fine, tap, mass)

Infiltration: seeping, dripping, running, gushing, standing water

Deposits: encrustation, fouling, settled deposits (i.e. fine, coarse, gravel, soil)

Sealing/Seating: sealed completely, minor leaking, moderate leaking, not operational

Bearing/Pivot Lubrication: mild resistance, moderate resistance, could not turn, freely turning

MAINTENANCE ISSUES IDENTIFIED BY ASSESSMENT:

ADDITIONAL NOTES:

| PHOTOGRAPHS |  |
| --- | --- |
| Photo 1: | Photo 2: |
| Photo 3: | Photo 4: |